Ground Water Contamination

Susceptibility Assessment Survey Form

Complete one form for each ground water source (well, wellfield, spring) used in your water system (photocopy as necessary).

PART I:		System Information

Well owner/manager:

Water system name:

County:

Water system ID number:				Source number:

Well depth:					 feet

Source name:

WA well identification tag number:______      ______      ______ - ______      ______      ______

 Well not tagged

Number of connections:					Population served:

Township:						Range:

Section:						¼ ¼ Section:

Latitude/longitude (if available):					/

How was latitude/longitude determined?

Global positioning device		survey	topographical map

other:

*Please refer the instructions for details and explanations of all questions in Parts II through V.

PART II:	Well Construction and Source Information

1)  	Date well originally constructed:	___/___/___month/day/year

last reconstruction:			___/___/___month/day/year

 Information unavailable

2)  Well driller:

 Well driller unknown

3)  Type of well:  __ Drilled:	 rotary	 bored	cable (percussion)	 Dug

__ other:	 spring(s)	 lateral collector (Ranney)

 driven	 jetted	 other:

4)  Well report available  Yes (attach copy to form)  No

5)  Average pumping rate: 				(gallons/min)

Source of information

If not documented, how was pumping rate determined?

 Pumping rate unknown

6)  Is this source treated?

If so, what type of treatment:

 disinfection  filtration  carbon filter  air stripper   other

Purpose of treatment (describe materials to be removed or controlled by treatment):

7)  If source is chlorinated, is a chlorine residual maintained:  Yes	 No

Residual level:		 (At the point closest to the source.)

### PART III:	Hydrogeologic Information

1)  Depth to top of open interval: [check one]

 <20 ft  20-50ft  50-100ft  100-200ft  >200ft

 information unavailable

2)  Depth to ground water (static water level):

 <20ft  20-50ft  50-100ft  >100ft

 flowing well/spring (artesian)

How was water level determined?

 well log		 other

 depth to ground water unknown

3)  If source is a flowing well or spring, what is the confining pressure:

psi (pounds per square inch)	or

feet above wellhead

4)  If source is a flowing well or spring, is there a surface impoundment, reservoir, or catchment associated with this source:	 Yes  No

5)  Wellhead elevation (height above mean sea level):		 feet

How was elevation determined?  topographic map  Drilling/Well Log  altimeter

 other:

 information unavailable

6)  Confining layers:  (This can be completed only for those sources with a drilling log, well log or geologic report describing subsurface conditions.  Please refer to assistance package for example.)

evidence of a confining layer in well log

no evidence of a confining layer in well log

If there is evidence of a confining layer, is the depth to ground water more than 20 feet 		above the bottom of the lowest confining layer?	 Yes  No

 information unavailable

7)  Sanitary setback:

 < 100ft*  100-120ft  120-200 ft  >200ft

* If less than 100ft, describe the site conditions:

8)  Wellhead construction:

 wellhead enclosed in a wellhouse

 controlled access (describe):

 other uses for wellhouse (describe):

 no wellhead control

9)  Surface seal:

 18 ft

 <18 ft (no Department of Ecology approval)

 <18 ft (Approved by Ecology, include documentation)

 depth of seal unknown

 no surface seal

10)  Annual rainfall (inches per year):

 <10 in/yr  10-25 in/yr  >25 in/yr

PART IV:	Mapping Your Ground Water Resource

1)  Annual volume of water pumped:			 (gallons)

How was this determined?

 meter

 estimated: 	 pumping rate 	(					)

 pump capacity 	(					)

 other:

2)  “Calculated Fixed Radius” estimate of ground water movement:

(see Instruction Packet)

6-month ground water travel time:						feet

1-year ground water travel time:						feet

5-year ground water travel time:						feet

10-year ground water travel time:						feet

Information available on length of screened/open interval?

 Yes  No

Length of screened/open interval: 				feet

3) 	Is there a river, lake, pond, stream, or other obvious surface water body within the 6-	month time of travel boundary?

 Yes No (mark and identify on map)

4)  	Is there a stormwater and/or wastewater facility, treatment lagoon, or holding pond 	located within the 6-month time of travel boundary?

 Yes No (mark and identify on map)

Comments:

### PART V:	Assessment of Water Quality

1)  Regional sources of risk to ground water:

Please indicate if any of the following are present within a circular area around your water source having a radius up to and including the five-year ground water travel time. If you do not know if one of the following is present, mark the “unknown” space.

6-month	1-year		5-year		unknown

- likely pesticide application

- stormwater injection wells

- other injection wells

- abandoned ground water well

- landfills, dumps, disposal areas

- known hazardous materials clean-up site

- water system(s) with known quality problems

- population density >1 house/acre

- residences commonly have septic tanks

- Wastewater treatment lagoons

- sites used for land application of waste

Mark and identify on map any of the risks listed above which are located within the 6-month time of travel boundary.  (Please include a map of the wellhead and time of travel areas with this form.  Please locate and mark any of the following.)

If other recorded or potential sources of ground water contamination exist within the ten-year time of travel circular zone around your water supply, please describe:

2)  Source-specific water quality records:   For each type of test below, mark the row that applies to the sample results for this source.   Consider all the sample results from the past 12 years.    (MCLs are noted next to the specific test or listed in assistance package.)

A.  Nitrate: (Nitrate MCL = 10 mg/l)

Results greater than MCL

<2 mg/liter nitrate

2-5 mg/liter nitrate

<5 mg/liter nitrate

Nitrate sampling records unavailable

B.  VOCs: (VOC detection level is  0.5 ug/l or 0.0005 mg/l)

Results greater than MCL or SAL

VOCs detected at least once

VOCs never detected

VOC sampling records unavailable

C.  EDB/DBCP:

(EDB MCL = 0.05 ug/l or 0.00005 mg/l. DBCP MCL = 0.2 ug/l or 0.0002 mg/l.)

EDB/DBCP detected below MCL at least once

EDB/DBCP detected above MCL at least once

EDB/DBCP never detected

EDB/DBCP tests required but not yet completed

EDB/DBCP tests not required

D.  Other SOCs (Pesticides):

Other SOCs detected

(pesticides and other synthetic organic chemicals)

Other SOC tests performed but none detected

(list test methods in comments)

Other SOC tests not performed

If any SOCs in addition to EDB/DBCP were detected, please identify and date.  If other SOC tests were performed, but no SOCs detected, list test methods here:

E.  Bacterial contamination:

Any bacterial detection(s) in the past 3 years in samples taken from

the source (not distribution sampling records)?

Has source (in past 3 years) had a bacteriological contamination problem

found in distribution samples that was attributed to the source?

Source sampling records for bacteria unavailable

PART VI:	Geographic or Hydrologic Factors Contributing to a Non-Circular 			Zone of Contribution

The following questions will help identify those ground water systems which may not be accurately represented by the calculated fixed radius (CFR) method described in Part IV.  For these sources, the CFR areas should be used as a preliminary delineation of the critical time of travel zones for that source.  As a system develops its Wellhead Protection Plan for these sources, a more detailed delineation method should be considered.

  - Is there evidence of obvious hydrologic boundaries within the 10-year time of travel 	zone of the CFR?  (Does the largest circle extend over a stream, river, lake, up a 	steep hillside, and/or over a mountain or ridge?)

 Yes  No

Describe with references to map produced in Part IV:

2)	Aquifer Material:

A) 	Does the drilling log, well log or other geologic/engineering reports identify that 			the well is located in an area where the underground conditions are identified as 			fractured rock and/or basalt terrain?

 Yes  No

B) 	Does the drilling log, well log or other geologic/engineering reports indicate that 			the well is located in an area where the underground conditions are primarily 			identified as coarse sand and gravel?

 Yes  No

3)	Is the source located in an aquifer with a high horizontal flow rate? (These can 	include sources located on flood plains of large rivers, artesian wells with high water 	pressure, and/or shallow flowing wells and springs.)

 Yes  No

4)	Are there other high capacity wells (agricultural, municipal and/or industrial) located 	within the CFRs?

a) 	Presence of ground water extraction wells removing more than 				approximately 500 gal/min within…

YES		NO		unknown

<6-month travel time

6 month—1 year travel time

1—5 year travel time

5—10 year travel time

b)	Presence of ground water recharge wells (dry wells) or heavy irrigation 				within…

YES		NO		unknown

<1-year travel time

1—5 year travel time

5—10 year travel time

Please identify or describe additional hydrologic or geographic conditions that you believe may affect the shape of the zone of contribution for this source.  Where possible, reference them to locations on the map produced in Part IV.

Form Completed By:

__________________________                           ________________________________

Print Name					Date

__________________________

Signature