# WASHINGTON STATE DEPARTMENT OF HEALTH

# PURIFICATION Plant CRITERIA WORKSHEEt				   abc Classification: wtpo

| Water Treatment Plant - address and contact person |
| --- |
| Plant Name | WA WFI # |
| Contact Name and Title |
| Address |
| City/State/Zip |
| Phone and Fax |

A groundwater supply with only chlorination is considered a distribution system, not a water treatment facility.  The addition of any chemical to a public water supply, other than a disinfectant, will be considered a treatment facility and should use this rating worksheet to determine the classification of the facility.*   Unless otherwise noted, give full amount of points in the “Your Plant” box.

For example:

Raw water quality is subject to or has elevated:			Points		Your Plant

Correct:		Taste and/or odor levels				 	  3		      3

Incorrect:	Taste and/or odor levels					  3		      1

Do not double count.  If the plant has two horizontal-flow (rectangular basins), DO NOT give 10 points, give 5 points.  If the plant has more than one type of unit for each process, give points once for each unit.

*With the exception of unit processes installed to allow in-line fluoridation, in-line chlorination, or chemical addition to inhibit corrosion are not included within the scope of the term “purification plant” per WAC 246-292-010.

| Item | Points Possible | Your Facility |
| --- | --- | --- |
| Size |  |
| Design flow average day, or peak month s average day, whichever is larger (1 point per 0.5 MGD. Round up.) Design flow: Consider this to be the design capacity of the plant. Examples: 9.2 MGD = 19 points 4.7 MGD = 10 points (20 points maximum allowed) | 1-20 |  |
| Water Supply Sources (Rating based on public health significance) |  |
| Seawater/saltwater | 0 |  |
| Groundwater | 0 |  |
| Groundwater under direct influence of surface water (GWI) | 8 |  |
| Surface water | 10 |  |
| Average Raw Water Quality Variation - Applies to all sources (surface and groundwater). Key is the effect on treatment process changes that would be necessary to achieve optimized performance. • Little or no variation - no treatment provided except disinfection (0 points) • Minor variation - e.g. "high quality" surface source appropriate for slow sand filtration (1 point) • Moderate variation in chemical feed, dosage changes made: monthly (2 points), weekly (3 points), or daily (4 points) • Variation significant enough to require pronounced and/or very frequent changes (5 points) • Severe variation - source subject to non-point discharges, agricultural/urban storm runoff, flooding (7 points) • Raw water quality subject to agricultural or municipal waste point source discharges (8 points) • Raw water quality subject to industrial waste pollution (10 points) | 0-10 |  |
| Raw water quality is subject to: |  |
| Taste and/or odor for which treatment process adjustments are routinely made | 2 |  |
| Color > 15 CU (not due to precipitated metals) - see exceptions in Note I at end of table. | 3 |  |
| Iron or/and manganese > MCL: Fe (2 points), Mn (3 points) (3 points maximum allowed) see exceptions in Note 1 at end of Table 1 | 2-3 |  |
| Algal growths for which treatment process adjustments are routinely made | 3 |  |

| Item | Points Possible | Your Facility |
| --- | --- | --- |
| Chemical Treatment/Addition Processes |  |
| Fluoridation | 4 |  |
| Disinfection/Oxidation (Note: Points are additive to a maximum of 15 points allowed for this category.) CHECK  ALL THAT APPLY: • Chlorination: • Hypochlorites (5 points)  • If generated on site (add 1 point)  • Chlorine gas (8 points)  • Chloramination (10 points)  • Chlorine dioxide (10 points)  • Ozonation (10 points)  • UV Irradiation (2 points)  • Iodine, Peroxide, or similar (5 points)  • Potassium permanganate (4 points)  (If used with greensand filtration do not give 4 points) | 0-15 |  |
| pH adjustment for process control (e.g. pH adjustment aids coagulation) | 4 |  |
| Stability or Corrosion Control (If the same chemical is used for both Corrosion Control and pH adjustment, count points only once) | 4 |  |
| Coagulation/Flocculation & Filter Aid |  |
| Primary coagulant addition | 6 |  |
| Coagulant aid / Flocculant chemical addition (in addition to primary coagulant use) | 2 |  |
| Flocculation | 2 |  |
| Filter aid addition (Non-ionic/anionic polymers) | 2 |  |
| Clarification/Sedimentation |  |
| Sedimentation (plain, tube, plate) | 4 |  |
| Contact adsorption | 6 |  |
| Other clarification processes (air flotation, ballasted clarification, etc.) | 6 |  |
| Upflow clarification ("sludge blanket clarifier") 2 | 8 |  |
| Filtration |  |  |
| Granular media filtration (Surface water/GWI) ≤ 3 gpm/sq ft | 10 |  |
| Granular media filtration (Surface water/GWI)  3 gpm/sq ft | 20 |  |
| Groundwater filtration | 6 |  |
| Membrane filtration • For compliance with a primary regulation (10 points) • For compliance with a secondary regulation (6 points) | 6-10 |  |
| Diatomaceous earth (pre-coat filtration) | 10 |  |
| Cartridge/bag | 5 |  |
| Pre-filtration (staged cartridges, pressure sand w/o coagulation, etc.): add one point per stage to maximum of 3 points | 1-3 |  |
| Slow sand | 5 |  |
| Other Treatment Processes |  |
| Aeration | 3 |  |
| Air stripping (including diffused air, packed tower aeration) | 5 |  |
| Ion-exchange/softening | 5 |  |
| Greensand filtration | 10 |  |
| Lime-soda ash softening (includes: chemical addition, mixing/flocculation/ clarification/filtration - do not add points for these processes separately) | 20 |  |

| Item | Points Possible | Your Facility |
| --- | --- | --- |
| Granular activated carbon filter (do not assign points when included as a bed layer in another filter) | 5 |  |
| Powdered activated carbon | 2 |  |
| Blending sources with significantly different water quality • To achieve MCL compliance (4 points) • For aesthetic reasons (2 points) | 2-4 |  |
| Reservoir management employing chemical addition | 2 |  |
| Electrodialysis | 15 |  |
| Other: Certification authority may assign 2 to 15 additional points for processes not listed elsewhere in this document. (Specify: ) | 2-15 |  |
| Residuals Disposal |  |  |
| • Discharge to surface, sewer, or equivalent ( 0 points) • On-site disposal, land application (1 point) • Discharge to lagoon/drying bed, with no recovery/recycling - e.g. downstream outfall (1 point) • Backwash recovery/recycling: discharge to basin or lagoon and then to source (2 points) • Backwash recovery/recycling: discharge to basin or lagoon and then to plant intake (3 points) | 0-3 |  |
| Facility Characteristics |  |  |
| Instrumentation - Use of SCADA or similar instrumentation systems to provide data, with: • Monitoring/alarm only, no process operation - plant has no automated shutdown capability (0 points) • Limited process operation - e.g. remote shutdown capability (1 point) • Moderate process operation - alarms and shutdown, plus partial remote operation of plant (2 points) • Extensive or total process operation - alarms and shutdown, full remote operation of plant possible (4 points) | 0-4 |  |

Total Score:__________

See WAC 246-292-050 for minimum certification requirements:

Class I ..................... 30 points or less			Class III................... 56-75 points

Class II .................... 31-55 points 			Class IV .................. 76 points and greater

Worksheet Completed by: ___________________________________________________________________

Phone: _________________________			Effective Date of Treatment: ____________________

1   Raw water quality is subject to:

   Taste and/or odor for which treatment process adjustments are routinely made (2 points):

1) T&O issue has been identified in a pre-design report, etc.,

2) a process has been installed to address, and

3) operational control adjustments are made at least seasonally.

Do not give points for T&O when there is no specific additional impact on operation.  E.g. if a system is already pre-chlorinating for disinfection, give no points for T&O.

   Color > 15 CU (not due to precipitated metals) (3 points) with following exceptions: Color will be considered elevated and points assigned when levels exceed 75 Color Units (CU) for conventional filtration, 40 CU for direct filtration, or 15 CU for all other technologies,  except reverse osmosis (no points given for color for reverse osmosis).

   Iron and/or manganese > MCL:  Fe (2 points), Mn (3 points) (3 points maximum allowed) with following exceptions. Iron and manganese levels will be considered elevated and points assigned if they are greater than the MCL, except for applications of manganese greensand filters. For applications of manganese greensand filters, iron and manganese levels will be considered elevated when their combined level exceeds 1.0 mg/L (3 points allowed).

   Algal growths for which treatment process adjustments are routinely made (3 points): Raw water will be considered subject to algae growths when treatment processes are  specifically adjusted due to the presence of high levels of algae on at least a weekly basis for at least two months each year.

2  Upflow  clarification ("sludge blanket clarifier") - 8 points - Also known as sludge blanket clarification.  Includes such proprietary units as Super-Pulsator. These units include processes for flocculation and sedimentation. Important note: these are not the same as adsorption clarifiers.

Water Treatment Definitions

Definitions reprinted from "Master Glossary of Water and Wastewater Terms," [http://www.owp.csus.edu/glossary/glossary.php], with permission from Office of Water Programs, California State University, Sacramento.

Adsorption

The gathering of a gas, liquid, or dissolved substance on the surface or interface zone of another material.

Aeration

The process of adding air to water. Air can be added to water by passing air through water or passing water through air.

Air stripping

A treatment process used to remove dissolved gases and volatile substances from water. Large volumes of air are bubbled through the water being treated to remove (strip out) the dissolved gases and volatile substances.

Chloramination

The application of chlorine and ammonia to water to form chloramines for the purpose of disinfection.

Diatomaceous earth

A fine, siliceous (made of silica) "earth" composed mainly of the skeletal remains of diatoms.

Direct filtration

A method of treating water which consists of the addition of coagulant chemicals, flash mixing, coagulation, minimal flocculation, and filtration. The flocculation facilities may be omitted, but the physical-chemical reactions will occur to some extent. The sedimentation process is omitted.

Electrodialysis

The selective separation of dissolved solids on the basis of electrical charge, by diffusion through a semipermeable membrane across which an electrical potential is imposed.

Reverse osmosis

The application of pressure to a concentrated solution which causes the passage of a liquid from the concentrated solution to a weaker solution across a semipermeable membrane. The membrane allows the passage of the water (solvent) but not the dissolved solids (solutes).

SCADA system

The Supervisory Control And Data Acquisition system is a computer-monitored alarm, response, control and data acquisition system used by drinking water facilities to monitor their operations.

Stabilization

Processes that convert organic materials to a form that resists change. Organic material is stabilized by bacteria which convert the material to gases and other relatively inert substances. Stabilized organic material generally will not give off obnoxious odors.