## Disinfection Report Form
DISTRIBUTION CHLORINE RESIDUAL REPORT FORM
Water System Name | [6 empty] | Month/Year
County: |  |  |  | ID#: |  |  | Report submitted by
Treatment Plant #: |  |  |  | Source(s)#: |  |  | Operator Certificate #
Requirements: | [6 empty] | Telephone #
min Cl2 Residual: |  | 0.2 | mg/L in distribution |  |  |  | Signature:
Monitoring required:
| Production or Intertie | Chlorine Solution Used |  |  | Treated Water Quality
Date | Source Meter Reading | Tank Level |  | Volume Used | # Sites Sampled | # Samples Residual NOT Detected | Max Distribution Cl2 Residual (mg/L) | Min Distribution Cl2 Residual (mg/L) | Distribution Sample Location | Troubleshooting Notes Also record additional residual readings following a low or zero residual reading | Sampler Initial
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
Total | 0 | Total number of measurements taken à |  |  | 0 | 0
Max | [6 empty] | 0
Min | [7 empty] | 0 | Second-lowest residual à
Please keep a copy for your records and send report by the 10th of the following month to your Regional Office. See instructions page.
Free chlorine
Total chlorine
Gallons
Pounds
Gal
ft3
5 days/week (GW)
7 days/week (purchased surface water)

## GW Instructions
INSTRUCTIONS FOR DISTRIBUTION CHLORINE RESIDUAL REPORT FORM - GROUNDWATER
Systems with a surface water intertie: see separate instructions
Monitoring Requirement – Measure and record free chlorine residual from a representative location in your distribution system according to your approved monitoring schedule at the top of the form. In addition, monitor and record the free chlorine residual at the same time and place that total coliform bacteria are sampled in the distribution system. Best practice is to use a digital DPD chlorine residual test kit or online analyzer that uses an EPA-approved method, see publication 331-442:
Measuring Free Chlorine (331-442)
Treatment Requirement – Please see the minimum level of free chlorine residual required to be maintained in the distribution system at all times on the top of your report form. Consider adopting more stringent performance goals to increase public health protection. For systems with a detectable residual requirement, the EPA Area-wide Optimization Program has established the following performance goal: “Maintain ≥ 0.20 mg/L free chlorine residual at all monitoring sites in the distribution system, at all times.”
Source Meter Reading – Record this at least once a week. The total volume of water used is calculated as the difference between the source meter readings. Record this as the total under the Source Meter Reading. Select correct units of measurement (gallons or cubic feet).
Tank level (gallons/pounds) – The amount of chlorine solution remaining in the chemical feed tank. If you use gas chlorine, record the pounds remaining. Record this at least once a week.
Volume Used (gallons/pounds) – The amount of chlorine solution used since the last time it was checked. If you use gas chlorine, record the pounds used. Record this at least once a week.
Number of Sites Sampled -- Enter the number of samples that were collected for disinfectant residual measurement on each day.
Number of Samples Residual NOT Detected -- Enter the number of samples where no disinfectant residual was detected (less than 0.2 mg/L). If chlorine was detected in all samples, then enter “0”.
Distribution Chlorine Residual (in mg/L) – Enter the maximum & minimum chlorine residual measurement at representative location(s) in your distribution system. If only one measurement was made that day, enter the result in the Min Residual column.
Distribution Sample Location – The location where the distribution chlorine residual sample was collected, such as a home or business that is a representative point within the distribution system. If multiple locations were sampled, leave this blank.
Troubleshooting Notes – Note troubleshooting activities and additional residual readings following an initial low or zero residual reading.
Coliform sampling – You must test the chlorine residual at the same time and location that you collect a routine or repeat coliform sample. Be sure to mark the chlorine residual on the coliform lab slip.
Return to your regional office by the 10th of the following month.
Submit your monthly treatment plant report form electronically to the appropriate email address.
Eastern Region |  | Phone: | 509.329.2100
|  | Fax: | 509.329.2104
|  | Email: | DOHDWChlorination@doh.wa.gov
Counties Served: | Adams, Asotin, Benton, Chelan, Columbia, Douglas, Franklin, Ferry, Garfield, Grant, Kittitas, Klickitat, Lincoln,
Okanogan, Pend, Orielle, Spokane, Stevens, Walla Walla, Whitman and Yakima.
Northwest Region |  | Phone: | 253.395.6750
|  | Fax: | 253.395.6760
|  | Email: | DW.NWRO@doh.wa.gov
Counties Served: | Island, King, Pierce, San Juan, Skagit, Snohomish, and Whatcom.
Southwest Region |  | Phone: | 360-236-3030
|  | Fax: | 360-664-8058
|  | Email: | SW.Treatment.Reports@doh.wa.gov
Counties Served: | Clallam, Clark, Cowlitz, Grays Harbor, Jefferson, Kitsap, Lewis, Mason, Pacific, Skamania, Thurston, and Wahkiakum
To request this document in another format, call 1-800-525-0127. Deaf or hard of hearing customers, please call 711 (Washington Relay) or email civil.rights@doh.wa.gov.
This and other publications are available at https://doh.wa.gov/community-and-environment/drinking-water/publications-and-forms.
DOH Form 331-593 (Updated 9/2023)

## SW-Intertie Instructions
INSTRUCTIONS FOR SYSTEMS THAT PURCHASE COMPLETELY TREATED SURFACE WATER
Monitoring Requirements WAC 246-290-694(8)(b) & WAC 246-290-300(2)(b)(iii))
Systems that purchase surface water must measure distribution system disinfectant residuals at the same time & location that total coliform bacteria are sampled in the distribution system, or once per day, whichever is greater.
Systems serving less than one hundred connections: You may measure residuals at the same time & location as total coliform bacteria sampling, unless the department determines that more frequent monitoring is necessary. Best practice for all systems is to measure the residual daily.
HPC bacteria may be measured in place of disinfectant residuals. Contact your DOH Regional Office if you want to use HPC results.
Who is qualified to measure chlorine residual? (WAC 246-290-638(1))
(1) A person certified under chapter 246-292 WAC; (2) An analyst, with experience conducting these measurements, from the state public health laboratory or another laboratory certified by the department (3) A state or local health jurisdiction professional experienced in conducting these measurements; or  (4) A person designated by & under the direct supervision of a waterworks operator certified under chapter 246-292 WAC.
Treatment Technique Requirement (WAC 246-290-692(5))
All systems using surface water must maintain a detectible residual (0.2 mg/L or greater) in 95 percent of the samples each calendar month.
Consider adopting more stringent performance goals to increase public health protection. For example, the EPA Area-wide Optimization Program has established the following performance goal: “Maintain ≥ 0.20 mg/L free chlorine residual at all monitoring sites in the distribution system, at all times.”
Instructions for Completing Form
General Information – Complete all the information in the box at the top of the form. Most systems should routinely measure free chlorine & leave the "free chlorine" box checked. Only for systems purchasing water treated with chloramines: routinely measure total chlorine residual instead of free & mark the "total chlorine" box.
Monitoring Requirement – Measure & record chlorine residual from a representative location in your distribution system. Please note your required residual & monitoring frequency at the top of the form. You must measure the residual with an online analyzer or digital DPD chlorine residual test kit that uses an EPA-approved method.
Source Meter Reading – If you provide booster chlorination only, record the intertie meter reading at least once a week. The total volume of water used is calculated as the difference between the source meter readings. Record this as the total under the Source Meter Reading. Select correct units of measurement (gallons or cubic feet).
Tank level (gallons/pounds) – If you provide booster chlorination only, record the amount of chlorine solution remaining in the chemical feed tank. If you use gas chlorine, record the pounds remaining. Record this at least once a week.
Volume Used (gallons/pounds) – If you provide booster chlorination only, record the amount of chlorine solution used since the last time it was checked. If you use gas chlorine, record the pounds used. You should record this at least once a week.
Number of Sites Sampled – Enter the number of samples that were collected for disinfectant residual measurement on each day.
Number of Samples Residual NOT Detected – Enter the number of samples where no disinfectant residual was detected (less than 0.2 mg/L). If chlorine was detected in all samples, then enter “0”.
Distribution Chlorine Residual (in mg/L) – Enter the maximum & minimum chlorine residual measurement at representative location(s) in your distribution system. If only one measurement was made that day, enter the result in the Min Residual column.
Distribution Sample Location – The location where the distribution chlorine residual sample was collected, such as a home or business that is a representative point within the distribution system. If multiple locations were sampled, leave this blank.
Troubleshooting Notes – Note troubleshooting activities & additional residual readings following an initial low or zero residual reading.
Coliform sampling – You must test the chlorine residual at the same time & location that you collect a routine or repeat coliform sample. Be sure to mark the chlorine residual on the coliform lab slip.
Return to your regional office by the 10th of the following month.
Submit your monthly treatment plant report form electronically to the appropriate email address.
Eastern Region |  | Phone: | 509.329.2100
|  | Fax: | 509.329.2104
|  | Email: | DOHDWChlorination@doh.wa.gov
Counties Served: | Adams, Asotin, Benton, Chelan, Columbia, Douglas, Franklin, Ferry, Garfield, Grant, Kittitas, Klickitat, Lincoln,
Okanogan, Pend, Orielle, Spokane, Stevens, Walla Walla, Whitman and Yakima.
Northwest Region |  | Phone: | 253.395.6750
|  | Fax: | 253.395.6760
|  | Email: | DW.NWRO@doh.wa.gov
Counties Served: | Island, King, Pierce, San Juan, Skagit, Snohomish, and Whatcom.
Southwest Region |  | Phone: | 360-236-3030
|  | Fax: | 360-664-8058
|  | Email: | SW.Treatment.Reports@doh.wa.gov
Counties Served: | Clallam, Clark, Cowlitz, Grays Harbor, Jefferson, Kitsap, Lewis, Mason, Pacific, Skamania, Thurston, and Wahkiakum
To request this document in another format, call 1-800-525-0127. Deaf or hard of hearing customers, please call 711 (Washington Relay) or email civil.rights@doh.wa.gov.
This and other publications are available at https://doh.wa.gov/community-and-environment/drinking-water/publications-and-forms.
DOH Form 331-593 (Updated 9/2023)